## RAW Data- RE
Bit 0 | [16 empty] | Bit 1 |  |  | Bit 2 |  |  | Bit 3
0.1V | 0.2V | 0.3V | 0.4V | 0.5V | 0.6V | 0.7V | 0.8V | 0.9V | 1V | 1.1V | 1.2V | 1.3V | 1.4V | 1.5V | 1.6V | 1.7V | 0.5V | 1V | 1.5V | 0.5V | 1V | 1.5V | 0.5V | 1V | 1.5V
000732ce | 001259c7 | 001ce612 | 0027ed9f | 0033b138 | 003c7166 | 0049b66a | 00551528 | 005faf82 | 006915b1 | 00752688 | 008034e3 | 008a77e2 | 00931162 | 009e3a1d | 00a8d7f2 | 00b5574d
00092fc0 | 0013507e | 001e0f27 | 0028ce3b | 0033881a | 003ef4cd | 00492f97 | 005224b5 | 005d94e6 | 006a6598 | 00749be0 | 007e3b17 | 008970d4 | 0095030e | 009ff5fe | 00aa31c8 | 00b2d4d6
000866c4 | 0011f848 | 001dd510 | 0028b247 | 0032eb4f | 003d6c83 | 00487453 | 0052fd5e | 005e199a | 006907a9 | 00726061 | 007e6cd9 | 0088cae3 | 0093225e | 009df159 | 00a87a43 | 00b5d2bf
0006e10c | 00131437 | 001c6f4c | 0027fa4c | 0033ca4a | 003d7277 | 00496a4a | 0054c872 | 005e9d15 | 006a84bd | 00759021 | 007f75e8 | 0089ca5c | 0094a8b6 | 009dea0d | 00aa95f7 | 00b3fc68
00089195 | 0011d19d | 001e4cc7 | 00293d37 | 00331f37 | 003f0f25 | 0047cc91 | 0052fa44 | 005c50c5 | 0068ba5a | 007320c7 | 007dd403 | 0087b87c | 0094bdfe | 009fffe4 | 00a88cfe | 00b5736d
00089e5f | 00122e2d | 001cd8e1 | 00277a7d | 00340bbc | 003cb9f5 | 004a185e | 00550750 | 005f789b | 006a5101 | 0073aa1f | 007fcd00 | 008a1dcc | 0093c61e | 009e9926 | 00a91cd5 | 00b4583b
0006ed20 | 00136e2d | 001e2433 | 00293dd7 | 00336d17 | 003f1c01 | 00488788 | 0052e60f | 005e4a8e | 00693412 | 0074c64c | 007dc6ac | 0087faa4 | 009471b4 | 009e47d0 | 00aa2c0e | 00b2f7ed
000819bf | 0010fbb2 | 001b7ef8 | 0028229f | 00334776 | 003c6329 | 0047bc93 | 00545419 | 005e94b3 | 0067c129 | 00726389 | 007fb56f | 008ab359 | 0093b227 | 009f888b | 00a7579b | 00b5443f
000919c9 | 0014060b | 001e874b | 00298f2b | 003362d8 | 003ea5e7 | 0049ba95 | 00542f84 | 005f8092 | 006a5c9a | 0075bac1 | 007ebb41 | 00887f61 | 0095786f | 009e5383 | 00aa6bb2 | 00b31501
000729e3 | 00129603 | 001b69de | 0026bb37 | 00332e4a | 003d70c6 | 0046ca24 | 00529043 | 005ddb66 | 006850f7 | 00746de7 | 007da012 | 008aa67e | 0093903e | 009dcfa2 | 00a8ae39 | 00b5b895
0006fb1e | 00115bcd | 001e4f17 | 002955f8 | 00344f1a | 003d361f | 0049e350 | 0054957d | 005fcb03 | 006a0660 | 007365b9 | 007e95a6 | 0088f2f8 | 0094b20c | 009fa124 | 00a8744d | 00b35e6b
0008ccbc | 00139927 | 001d85d8 | 00277821 | 00323519 | 003ec97e | 0047771e | 00523fa6 | 005e538f | 0068c4f0 | 00751db5 | 007d3b18 | 008a81f0 | 0094569b | 009e9aa1 | 00aa759e | 00b5a4df
00076010 | 00117262 | 001e48f8 | 0026bc3a | 0034499e | 003b8a74 | 00468fd5 | 00543d54 | 005d91ae | 006916ba | 0072b7d7 | 007f4337 | 0089ab11 | 00936da3 | 009f0ecd | 00a8105f | 00b3633e
0006eaa7 | 001328e0 | 001df01e | 0028a41a | 0033938b | 003f34be | 0049d164 | 0053d99e | 005f6d49 | 006a31a5 | 00754159 | 007de683 | 008853cf | 0094e357 | 00a03b0e | 00aa9218 | 00b5bff7
0008ba9d | 00120a2d | 001cd801 | 0027a5ad | 0032651b | 003b26bd | 0047cabf | 0052c7a0 | 005e1ed1 | 0067e4dd | 00744064 | 007f9bf4 | 008a2cb0 | 0093d697 | 009eec15 | 00a90fc1 | 00b2efd9
00081a5e | 0011d684 | 001dfd7e | 0028db8d | 00342cc4 | 003f0c8f | 004990ea | 0055112e | 005fc92c | 006a2b7c | 007303f2 | 007f0825 | 008789df | 0094fbd6 | 009eaa5b | 00a6e971 | 00b55042
0007b8d2 | 001350cb | 001c2b3a | 0026f70e | 0032ef12 | 003ddf4b | 0047d702 | 00520d12 | 005e48df | 0068037c | 0074d59f | 007e5097 | 008a1e38 | 0093c224 | 009fdda5 | 00aa3dc4 | 00b4706d
00090d9a | 00112813 | 001e3018 | 00295587 | 0033ed25 | 003c4a08 | 0049f773 | 0054e1c6 | 005d8fc3 | 006a8eb6 | 00736003 | 007f7864 | 008903d4 | 0094b627 | 009e42ea | 00a812eb | 00b4d976
00087b97 | 0013dcf8 | 001c0f8e | 0026ab7c | 00336e69 | 003ea488 | 004932da | 0053c819 | 005fab22 | 0068a4f4 | 00750bd4 | 007e21f2 | 008aaf31 | 0094972f | 009f2d75 | 00aa5f58 | 00b4efc1
0005eee0 | 00128e23 | 001e21e7 | 0029a111 | 00325aae | 003c54ae | 0047e2c0 | 00521367 | 005d94ee | 0068ff86 | 0074cfe5 | 00806285 | 0087cd8d | 00921f56 | 00a03ab7 | 00a8ffa9 | 00b1ea88
00092279 | 0011a532 | 001c74be | 0026edf7 | 0034ad2b | 003e77fb | 00493417 | 0054be07 | 005f2c56 | 0069ad04 | 0072f9f5 | 007e226f | 008aa656 | 0094a37f | 009e8c1d | 00a9467f | 00b54fc3
0008b57f | 00130985 | 001ed061 | 002965fc | 00328b70 | 003d15e7 | 0046f11f | 00528a50 | 005eac8d | 0066b640 | 0074029d | 007fe049 | 00897c97 | 00926edf | 009e5520 | 00aa746f | 00b30b27
0007ebaf | 00116cbf | 001db008 | 00285139 | 00345d66 | 003f0a91 | 004a0a5a | 0054851b | 005e08b9 | 006a999d | 00737eb1 | 007f4570 | 0088e925 | 00951f58 | 00a03628 | 00a841a3 | 00b58128
00075f9e | 0013aa0b | 001c41db | 00277d2c | 00334e66 | 003e86e5 | 0048c553 | 0052e97e | 005f76ea | 006943f8 | 0072d0bf | 007e4c14 | 008a2ad7 | 009237e2 | 009e981f | 00aa8a2b | 00b2c00c
0009087f | 0012c1a9 | 001db3c0 | 0029aa82 | 00339fb5 | 003d4412 | 00454c62 | 00545ae7 | 005d1d87 | 00693e5c | 0075047f | 007f10e9 | 00888bb2 | 009516b9 | 009ee149 | 00a90946 | 00b5ed31
00080720 | 00112298 | 001b9beb | 00276afc | 0033cdeb | 003ee1d7 | 0049fd74 | 005469b3 | 005fcf0f | 006a2ed2 | 00728450 | 007d3fc2 | 008a1a1e | 0093ef4f | 00a01511 | 00a92d8c | 00b2e4ea
00077053 | 0013cc63 | 001de27e | 0028c63e | 0032cce1 | 003b79d4 | 004786a8 | 0050a5be | 005f44c7 | 0068832e | 00752753 | 00806678 | 00884465 | 00942045 | 009e76eb | 00aa3522 | 00b4bc1a
0008e8a4 | 0010fdf8 | 001cb2fd | 0026b3a4 | 003459d6 | 003f0cbd | 0049e375 | 00550f9b | 005d59f3 | 0069c62c | 007405ba | 007da454 | 008a8dad | 0094b6f3 | 009e6fb9 | 00a8c302 | 00b40152
00089a5d | 0013557e | 001e83d2 | 0029ac8a | 00322457 | 003d611f | 0048163d | 0052dc6c | 005f8abc | 0067fd66 | 007266ec | 007e1ce5 | 00890126 | 0092f505 | 009fd8a6 | 00aae359 | 00b4a711
00077c1f | 0013235a | 001bdb94 | 00278ac6 | 00345f6d | 003f2643 | 00475fd4 | 005386f5 | 005dc5ac | 0069d7fc | 0074d4d2 | 007f3ada | 00893454 | 0094ccc3 | 009e925c | 00a99b82 | 00b479e4
0008529f | 00120116 | 001dd5e7 | 002949c6 | 00337f8b | 003de9aa | 00498f67 | 005446b7 | 005e555b | 0068ed21 | 00715ee7 | 007d665b | 008a17f0 | 00930b0e | 009e5c1c | 00a90ed0 | 00b40a62
0008e115 | 0013c9d0 | 001cf12c | 0027f910 | 0032db8f | 003d9ebf | 004800bd | 0051ba20 | 005f8280 | 00679a44 | 0074e6e3 | 007fad64 | 0086e060 | 0095649b | 009ffb53 | 00aa60ef | 00b5724c
0007bcac | 00119196 | 001e2b24 | 0025625d | 00340994 | 003e6407 | 00498730 | 0054dad2 | 005c99f1 | 006a2733 | 00744f39 | 007cc8f6 | 008a3e4d | 0092d0eb | 009e436e | 00a75b9a | 00b37e94
0007e2b2 | 0013ccee | 001dbe65 | 0029180d | 0031b6d4 | 003cd053 | 00466a41 | 0052dbdd | 005f6c25 | 00674375 | 007260e8 | 007fecf1 | 0087e67c | 0094b5f7 | 009e94e3 | 00aa4b92 | 00b4a2a7
00086090 | 00134eb8 | 001b53f6 | 0027619e | 00345fac | 003f380e | 004a1bcd | 0054ce61 | 005dcca9 | 006a67dd | 00753586 | 007e867d | 008a28db | 00941aeb | 009ff997 | 00a959f9 | 00b30a12
00076bfa | 0011a7d9 | 001e003d | 00297347 | 003312ce | 003d70df | 0049375d | 00545a3e | 005db440 | 0068b5b9 | 007347dc | 007f59c9 | 0089183a | 00936241 | 009ec369 | 00a8ce80 | 00b5f730
0006d5cc | 0013d641 | 001c62c0 | 002754d6 | 0032a96d | 003ccdce | 0047985c | 005240bc | 005f605a | 0069e25a | 00745855 | 007f7826 | 0089de87 | 009560ed | 009e7561 | 00a9e90c | 00b33671
0008d7ab | 001190c4 | 001e3d7e | 00296d72 | 0033b1ae | 003ee3e0 | 0049c1a3 | 0054daca | 005db698 | 00698f89 | 0074f392 | 007e40e4 | 0089a758 | 0091858f | 009e85b0 | 00a8c18f | 00b5c387
00081807 | 00128ce2 | 001c2c48 | 00269c39 | 00321229 | 003d2fd2 | 00479a4c | 00528a3f | 005ff8ef | 0068bdb9 | 00734c74 | 007fc33b | 00894081 | 009578ce | 009e9525 | 00aab94b | 00b3f543
0006ba9e | 00138e41 | 001ed837 | 002994a8 | 00344487 | 003ed022 | 004a38d7 | 00546c8b | 005ed341 | 006a2817 | 007501b8 | 007c78ba | 008a14f4 | 0093a162 | 009f238a | 00a9eeab | 00b01437
0008d2da | 001088b2 | 001ceb3e | 00279535 | 0032b706 | 003d593c | 0048df77 | 0053aa24 | 005e05c8 | 006815d6 | 0073065e | 00805305 | 0088daeb | 00955617 | 009fbc72 | 00a85f3d | 00b434ee
00081707 | 0013f2b8 | 001ea05c | 00293d0b | 00343dca | 003e88f2 | 004838c3 | 0052a740 | 005ff4ce | 006a7096 | 007394e5 | 007dfbf1 | 008aa0b0 | 00943913 | 009e636f | 00aa5102 | 00b37852
00079aed | 0011eaa8 | 001dadcf | 00289a12 | 00338921 | 003e7da9 | 0049c888 | 005472f0 | 005dfe15 | 0068f719 | 00745df7 | 007fbf1c | 00882841 | 00932f4b | 009df453 | 00a90a3a | 00b5b2ca
00080b6c | 00103c4e | 001cbc45 | 0027365a | 0032e442 | 003ceb99 | 00482853 | 0052be64 | 005e9a24 | 00675c58 | 0072da51 | 007f3728 | 008a9249 | 009456d0 | 009faae9 | 00a82448 | 00b38820
00090bec | 00138f1e | 001dd447 | 00290294 | 0033418b | 003e8ff7 | 0049f232 | 00541cd5 | 005f9b2e | 006a514b | 00755441 | 007dc51c | 00897cb1 | 00930012 | 009e89f8 | 00aa4cae | 00b45d10
00083f87 | 001185f7 | 001c983a | 0027d371 | 0031bf87 | 003bf2e3 | 004782c4 | 00536a4d | 005ac92c | 00681f06 | 0073a06f | 008023ee | 0088e50b | 0094d092 | 009df30d | 00a79537 | 00b294f6
0007326b | 0013ae4c | 001e4bf1 | 0028bb94 | 003482a5 | 003f0c3d | 004a1d90 | 005284b5 | 005f4883 | 006a1811 | 0073b0cf | 007dec70 | 008a06f6 | 0091ebc2 | 00a011ab | 00aa3026 | 00b5d473
0008ad2c | 0012509c | 001cb70f | 002725cd | 00330b9f | 003d431e | 00496601 | 0054a978 | 005de8ba | 0068373d | 0074a570 | 007febf7 | 00895d14 | 00958bff | 009e526b | 00a912a3 | 00b285d6
000889a4 | 00129083 | 001deee8 | 00295b30 | 00331ad2 | 003d7943 | 004749f0 | 0051f903 | 005de700 | 006a6027 | 00725e65 | 007e49e3 | 008a0c3f | 0093e38b | 009dbad4 | 00a9a6ca | 00b5871d
0006c97a | 00135814 | 001c5009 | 00271434 | 003428a5 | 003eb38e | 004960f4 | 00542918 | 005f83e7 | 00694da1 | 007510a0 | 007f9926 | 0088d5ad | 0093eaad | 009ffa4f | 00aa383b | 00b3c753
00091da4 | 001160bb | 001e5ca1 | 0029e3d4 | 0031600e | 003cf9b0 | 0047cc28 | 0053e10c | 005cb21a | 0067a56a | 007487a2 | 007ed692 | 008ad1cd | 0093eec4 | 009ebf81 | 00a8427e | 00b547fd
00089608 | 0014119c | 001ce844 | 00275b68 | 003435f0 | 003eea0d | 004970a0 | 00527876 | 005f7d14 | 006a1fb3 | 00737b26 | 007dde5e | 0089238f | 0092d65a | 009e3df3 | 00aa5e29 | 00b4e089
00074323 | 0012258a | 001e3981 | 00278807 | 00326d91 | 003cf46b | 00491744 | 00545d8a | 005edfe0 | 0067e9be | 0075489e | 007f7d09 | 008ad941 | 0094d772 | 00a0117c | 00a832a3 | 00b3a4db
0007ab52 | 001319f8 | 001d7272 | 002935ed | 00345866 | 003e9260 | 00467f6b | 00522af6 | 005ca8f7 | 006aaddd | 00741462 | 007deb39 | 00895968 | 0093859c | 009e2bba | 00a863e2 | 00b57836
0008e008 | 0013467a | 001c6294 | 0027579f | 0033ff77 | 003e24a0 | 004988a8 | 00550e2a | 005ef89e | 0068a09c | 0072e461 | 007fb921 | 00878c3c | 0094eda5 | 009e3be7 | 00a9e694 | 00b34a5a
0007abbf | 0011a0a2 | 001d8f8a | 0029890c | 0032b44c | 003d70ca | 004675c7 | 0051ac6c | 005d91ba | 006a3804 | 0074eeae | 007e541d | 0089de44 | 0093971a | 00a043dd | 00a76298 | 00b4a415
0007615d | 0013998f | 001cdb18 | 0025ee92 | 00337e91 | 003e4451 | 0049c5fa | 00518fc5 | 005f66d1 | 006a238c | 0071f6a9 | 00800d0a | 0087dabf | 0095a8ae | 009eea7b | 00aa7197 | 00b2a5a6
00093000 | 001258fb | 001e0d84 | 0029a315 | 0031ee68 | 003c8064 | 00481b2e | 00547e1b | 005eb86e | 0067e4e3 | 00754ede | 007e5b7e | 008a4cda | 00943e42 | 009e96a0 | 00a9586c | 00b5b540
00081573 | 00120570 | 001b7222 | 0027bf7f | 003424fe | 003f094d | 00479d4f | 0052f4b9 | 005d5fde | 006a2da2 | 00741c0e | 007de5d7 | 0088afb7 | 0092b3ff | 009fb2c4 | 00a8374e | 00b29fcf
00067680 | 00136c9e | 001e8bd0 | 00299d97 | 00332bb4 | 003c9857 | 004979dd | 0054d8ea | 005f824d | 00685fcb | 00731856 | 007f372c | 008a5202 | 00953bec | 009d5f5f | 00a9a41f | 00b5b024
0008efa2 | 0011e694 | 001c227f | 002780c6 | 00325c50 | 003f436f | 00479c60 | 005300b1 | 005d39b4 | 006ad2b7 | 00747af7 | 007ca4a6 | 0088a444 | 0093a216 | 009ed553 | 00a7eaa9 | 00b42387
00089f9f | 0013fdf4 | 001e7136 | 002746aa | 00345d55 | 003dccae | 004a222b | 0052df01 | 005f80ba | 00691949 | 00734fa3 | 007f4181 | 008aec3c | 00952d7f | 009fecdc | 00aa2de9 | 00b3da02
0007bdcb | 00122f5b | 001d4f26 | 0028fbc3 | 00316d12 | 003cf875 | 004850c9 | 0053b899 | 005ec103 | 00689926 | 0074bcfa | 007c9ba0 | 00897f28 | 0093a32c | 009ebb6b | 00a8e862 | 00b45804
00087baf | 0011b9da | 001d143c | 00267de1 | 00347257 | 003f5b16 | 00466914 | 00512a03 | 005ded3a | 0069ec57 | 00747ad9 | 007fc508 | 0089cef3 | 009525ff | 009ed1d1 | 00a8cc15 | 00b211c4
00088f30 | 00138aa2 | 001d709c | 00295cb4 | 0033e5aa | 003cfa07 | 00495c68 | 0054ebfa | 00600322 | 006869f6 | 007323f7 | 007d84fd | 008a1fe4 | 009421fb | 00a041e9 | 00aa6b34 | 00b550da
0007a058 | 0011849d | 001d76bc | 00274a11 | 003361fb | 003e653d | 00484fc4 | 005367b2 | 005ccbfa | 006a2604 | 0074d50b | 007eb83f | 0088a2bd | 009331fb | 009eb1df | 00a730c6 | 00b33468
00080b05 | 00141142 | 001e4556 | 0029c2f7 | 003429e7 | 003ccbf4 | 0049ea79 | 00521930 | 005e4452 | 006840f4 | 0073ac1d | 007e9b2a | 008aa4f5 | 0094db71 | 009e6ab7 | 00a9a7f5 | 00b569a0
00087db4 | 00126f91 | 001d227b | 00263e70 | 0031d777 | 003ed4ff | 0047d982 | 0053f7b7 | 005f6929 | 006aa2bb | 007327ce | 007cd472 | 00888a8d | 009270ec | 009fa484 | 00aa1cd2 | 00b3e4c2
0007539d | 0011a623 | 001ea56f | 0029909a | 0034bbe6 | 003e2f0d | 004a17ef | 0052bda1 | 005dff61 | 00683d11 | 00752819 | 007fa393 | 008a8a87 | 0094c56b | 009e4be3 | 00a8990a | 00b5d3ff
00078819 | 00130f1d | 001d0699 | 00286766 | 00334b84 | 003ce41a | 0049495f | 00544c8a | 005faae7 | 0067f132 | 0072bc9d | 007e0d6a | 008824ab | 0092e36a | 009e0016 | 00aab1f1 | 00b404c0
00089b21 | 0011d466 | 001e9e22 | 0028cb63 | 0031bc51 | 003e7ae1 | 0047a9e2 | 0053a077 | 005e4e2b | 0069fc5a | 00757d88 | 007fb595 | 008a90d2 | 0094fc06 | 00a029b1 | 00a80985 | 00b2c6b8
0007cdbe | 0013853b | 001ca619 | 00295447 | 00340afb | 003d0f10 | 0049315e | 0052e179 | 005dea0b | 0068467f | 0073f580 | 007e1214 | 008961f7 | 0093ee21 | 009e7770 | 00aa13bc | 00b528b8
000734eb | 0011f07d | 001e5484 | 002765e3 | 00321ff1 | 003ef9bf | 00484d0e | 005464e2 | 005f0fe6 | 006a1eeb | 0071d1c8 | 007fde55 | 00880b4d | 00922c79 | 009e8e1f | 00a9fbf0 | 00b36239
00091a8e | 00119b8c | 001cc466 | 00296a0b | 0033f732 | 003d766d | 004a40b9 | 00518349 | 005cd41d | 00680b51 | 00755dfc | 007e9fd0 | 008a5b02 | 0094a0ce | 009f769b | 00a8c095 | 00b4d8af
00078074 | 00130d48 | 001eaca9 | 0026d175 | 00330516 | 003e64c8 | 00494082 | 00551982 | 005fc2fc | 006aadf5 | 00735726 | 007e9ce1 | 00887a85 | 0092ba96 | 009e9cd7 | 00aa94b7 | 00b3784b
0007220d | 001160e1 | 001d921c | 00299262 | 0033df41 | 003e60a6 | 00474e06 | 0053d02d | 005e1632 | 0068393e | 00737bde | 007f8690 | 008a569e | 00953e93 | 009e4519 | 00a83c21 | 00b513be
0008a289 | 0013c4b4 | 001cd689 | 0027af6f | 0033faee | 003ce090 | 004995fe | 0052d03c | 005dc25a | 00698b90 | 0074d9e4 | 007d509d | 0086aa7d | 00926e44 | 00a06ac1 | 00aab04a | 00b2b28b
00077d8a | 00124449 | 001e3517 | 0029ae26 | 0032c503 | 003ef600 | 004869a0 | 00550f9b | 005fcea2 | 006a1ce4 | 00734884 | 007f76dc | 008adb8a | 00952c7d | 009e6f75 | 00aa6a39 | 00b61861
00079734 | 001196d1 | 001b2fa8 | 0027772b | 00347599 | 003bcb12 | 004a59b0 | 00523cd0 | 005d90b3 | 00678892 | 0074e2b9 | 007d5a5b | 0088a91c | 0093f3e1 | 009d709a | 00a8d845 | 00b38464
00088cac | 001352d1 | 001e3bec | 00288cc0 | 003231f4 | 003f4f30 | 0048bb72 | 0054e7d0 | 005f4b14 | 006a70ba | 0073c227 | 007fbe35 | 008a52f1 | 00940f66 | 00a03e65 | 00aa491d | 00b3766e
00082f7f | 000ffdea | 001c7130 | 0028905f | 00342773 | 003dad9e | 004849e9 | 00539768 | 005e376a | 00689524 | 00731ecd | 007e8da3 | 0089d309 | 0094b1a1 | 009e432f | 00a85640 | 00b420e7
00077c8c | 0013b69e | 001e654e | 0027a72b | 00339539 | 003d495a | 0049c692 | 0052f7ab | 005db62f | 006a33a4 | 007541b2 | 007fbef0 | 00889bd5 | 0091a7b5 | 009e832f | 00a84512 | 00b2453c
00084a3d | 00120dd6 | 001b43db | 0028cc2c | 0032b893 | 003e9b6f | 00482f1a | 00542a7f | 005e51bd | 00685aec | 00731597 | 007f016e | 008a508c | 00941398 | 00a0445f | 00a9c690 | 00b52c48
0008a36b | 0011e46d | 001e816c | 00274908 | 00340403 | 003c12bd | 0049db1e | 00526ec9 | 005d0e1e | 0069c780 | 007569d4 | 007c50be | 00868c57 | 00938f7e | 009e4bee | 00a849e8 | 00b2763a
0005aaf1 | 001359fe | 001bfe01 | 002976d8 | 00323e3d | 003f42de | 004844a1 | 0054b838 | 005fb6fa | 00696d46 | 00746a8f | 007f9712 | 008abd3c | 00957121 | 009dd0d9 | 00aa91d1 | 00b5748c
0008c70a | 001197c2 | 001eba05 | 002575ab | 003402aa | 003c2ad6 | 00496ed9 | 0053c802 | 005e3dd6 | 0068345a | 0072c336 | 007bc3b5 | 00882f72 | 009323ec | 009fe575 | 00a945ec | 00b21789
0008d121 | 0013d880 | 001d7822 | 0028a5ce | 0033f42f | 003eb718 | 00497577 | 0052374c | 005dd32a | 0069e7ba | 00755e71 | 00803cd9 | 008abbb4 | 00950365 | 009e4e0e | 00a89274 | 00b59f1b
000780da | 00122094 | 001e7602 | 0027a47d | 00332499 | 003e5051 | 0046d07f | 00541866 | 005f85b0 | 00674317 | 0072b150 | 007dcbec | 0088afcd | 0094be52 | 009f336e | 00aad7d3 | 00b2ac1b
00081d37 | 00124b3d | 001d8feb | 00295c75 | 0032ef58 | 003c5ca9 | 0049872b | 00508ee0 | 005c618e | 006a25ab | 0073fd75 | 007fdaa9 | 008b0af5 | 009382b5 | 009ff2cc | 00a7d7d8 | 00b5551d
0008a91d | 00139121 | 001c8b34 | 0028abfe | 00325e7e | 003f09a9 | 00476a4a | 0054d25f | 005fa84a | 00688741 | 0073cd96 | 007eec67 | 00899aaa | 0094f30c | 009def24 | 00aa3a3d | 00b36450
0007a23c | 001087a9 | 001eaa6a | 00279f16 | 0034e882 | 003cdfca | 0049dc09 | 0053cdcf | 005df711 | 006a41e4 | 007139d2 | 007caef1 | 0088c910 | 0092bf91 | 009f77e0 | 00a9b544 | 00b50164
00070a5a | 0012cc23 | 001ccf60 | 00292e3f | 0033eac9 | 003e9d83 | 004914b5 | 00528a1e | 005cfe99 | 006a1084 | 00751571 | 007fb6d7 | 008a5ab6 | 0094dc4c | 00a04a51 | 00a84384 | 00b475e7
0008c78c | 0012420e | 001e7900 | 002689b5 | 0032f7cd | 003dd6c6 | 00486bc5 | 0054e26a | 005f661e | 0067848b | 00740940 | 007c0fc7 | 00893654 | 00941692 | 009e6259 | 00a9a947 | 00b3727e
000703d9 | 00130086 | 001c4d45 | 0028db4a | 0034413d | 003d4e5f | 00498a0b | 0052633d | 005bb070 | 006a0c05 | 00737946 | 0080539c | 008adcfb | 0092b333 | 00a001f5 | 00a76cea | 00b4e3f3
00070c9b | 00133078 | 001e8026 | 00260006 | 00318be6 | 003f10e8 | 0046fbfa | 0054dff4 | 005feaa3 | 0067e558 | 00749957 | 007defde | 00885e2b | 0094d261 | 009f6102 | 00a9fa0a | 00b2c348
0008f891 | 00117945 | 001c0c54 | 0028ff91 | 00335ab4 | 003d7592 | 004a61fb | 00539f06 | 005dddc2 | 006a6564 | 0072bf25 | 00801f85 | 008abe8b | 0093cb97 | 009dd916 | 00aa539c | 00b525f2
0007bff0 | 0013262a | 001ed63f | 00263efc | 003395b8 | 003f0d26 | 00488220 | 00522f25 | 005d9b32 | 00681223 | 0074e74e | 007e6804 | 00884206 | 009544ee | 009fbed5 | 00a80055 | 00b33965
0007e3c6 | 0012116b | 001d2802 | 00296175 | 00320cc1 | 003c5dc1 | 00476c60 | 005468b0 | 005f7431 | 00694141 | 00745720 | 007e0e94 | 008a0d34 | 0092e95f | 009fe3c4 | 00aaa451 | 00b58341
0009101f | 00125a16 | 001dc242 | 0027beda | 0033e886 | 003ede11 | 0048be24 | 0052b3c0 | 005deeb1 | 006a0cd4 | 00730416 | 007fe190 | 0089efdd | 009525bb | 009de1d9 | 00a9313d | 00b31303
0007e63d | 001377ce | 001d6e6e | 0028d964 | 0032fc94 | 003df8ed | 0047e63e | 0054bbe6 | 005ee278 | 00687a74 | 00751c26 | 007d4e5d | 00895d5b | 0093e9a8 | 00a03dac | 00aa12d8 | 00b58719
00072835 | 00117485 | 001bb854 | 0028c49a | 00346def | 003c907d | 00499a95 | 0053a29c | 005d159e | 006a43cc | 00731881 | 007f0435 | 008926c2 | 0092ab20 | 009f8d86 | 00aa487c | 00b2df7f
0008ec22 | 0013bfd6 | 001e57e6 | 00279585 | 0032ff53 | 003ea3fe | 0047d801 | 0051bd4d | 005ebcc0 | 0067ba7c | 0071e793 | 007d9017 | 0088db25 | 0094a6d0 | 009ebe79 | 00a84a7f | 00b5741f
00089df0 | 0012305d | 001b96f1 | 0029451d | 0033565e | 003cf8a9 | 00496b7e | 0053b9d1 | 005f5524 | 006ac052 | 007505bc | 007fd050 | 008a0231 | 00935c72 | 00a03eb6 | 00aa2c9a | 00b3d67f
000738b3 | 0012dbb3 | 001cf859 | 002752d8 | 00340046 | 003e1dce | 00496c7e | 0051487c | 005d8523 | 00690ded | 0072a86f | 007e237f | 008858ca | 009527d6 | 009fa9a5 | 00a931f5 | 00b376e5
0008a649 | 0012d10b | 001c9437 | 00297c2a | 003238e1 | 003df9cb | 00476bab | 0053eb2e | 005fd5cb | 0068f5b6 | 0074cf71 | 007bebc3 | 008a9fe9 | 00927427 | 009dda3d | 00a987a0 | 00b422de
00087782 | 00110a9c | 001e8d2a | 002742ad | 0034525e | 003d3921 | 00499cd7 | 0053c07d | 005d7f16 | 0069cbd8 | 0073f975 | 007f8d9c | 00891791 | 0094a0dd | 009fe3c0 | 00a9ece7 | 00b41260
00056538 | 0013b661 | 001c496a | 00298f19 | 00328f4c | 003ef840 | 00474fb1 | 005236f2 | 005f0bcd | 0068676b | 00724093 | 007d6a94 | 0088e7f0 | 0093e13f | 00a0086b | 00a83ced | 00b5337f
000832ae | 0011484d | 001d8e25 | 0027b6d0 | 0033fe4e | 003d1fad | 004a7bbc | 00548a21 | 005f57bc | 006a5045 | 00747f1b | 007ec267 | 008a1b8e | 0093a08a | 009da111 | 00aab85b | 00b35578
00087c5e | 001356c3 | 001c0079 | 0029a473 | 0034168c | 003f9437 | 0048ceb6 | 0052d642 | 005dcdf1 | 0068515f | 00735bfd | 007caa83 | 0088efe7 | 0094f6ee | 009ef501 | 00aa16e9 | 00b59796
000690ac | 001315f3 | 001eb24f | 00285df7 | 0033021e | 003cd712 | 004757bf | 00550f2c | 005f69de | 006a8377 | 00752f9d | 00808156 | 008a5670 | 00937917 | 009f247d | 00a8f5b5 | 00b21b05
00079ca7 | 0011fa26 | 001d8f52 | 0026ccef | 00343bf1 | 003d10c5 | 0049d390 | 0053b3e2 | 005d4fb1 | 0068c804 | 0074c852 | 007e7e5a | 008804de | 00957787 | 009de5bd | 00aa96be | 00b55b74
0008c73a | 0013a376 | 001c6c3f | 0029707c | 0032b10f | 003e5634 | 0048476e | 00531608 | 005fbc0c | 0068afb8 | 00737858 | 007fc0ef | 008afbdd | 0092dede | 00a03492 | 00a8795a | 00b348bf
00086a2e | 0011a809 | 001dfbce | 00271bc9 | 0032dc27 | 003d3ece | 0049ab71 | 0053fc4d | 005e93dd | 00699c9c | 007541a6 | 007eee73 | 0088e101 | 00915f0d | 009e882e | 00a91219 | 00b51714
0007bef2 | 0013e347 | 001c4f86 | 00290915 | 00330940 | 003f30f0 | 00488374 | 0052e55a | 005c64d0 | 0068613a | 0072c0ff | 007dd04a | 0089ab8a | 00953bce | 009db39b | 00a9efb8 | 00b3a8ea
00090b1b | 00122006 | 001e5e7c | 0027ebf9 | 00339663 | 003ce9ae | 00488316 | 00550bab | 005f1421 | 006a1875 | 007400f3 | 007fa5b6 | 0089eae5 | 0092c856 | 00a0264c | 00a83190 | 00b57334
00087bf2 | 00114eef | 001c96b0 | 0029ae4c | 00341913 | 003ea4ed | 0049f3ef | 0053b1f6 | 005c7076 | 006892e1 | 0074c847 | 007d2bda | 008838af | 0094da8a | 009f116f | 00aa840b | 00b3c3ca
00073e88 | 001396c0 | 001e8b5e | 00278f2e | 0031e7ce | 003dcbed | 0046e3db | 0051f4ae | 005fc43c | 006a95e6 | 00738783 | 007f0afa | 008a8a47 | 0092b701 | 009ed56f | 00a8e3be | 00b578d0
0008b413 | 00114726 | 001c3b90 | 002921c5 | 00345d91 | 003d6f9d | 0049e485 | 0054851c | 005eaa63 | 0068298b | 0074fcf1 | 007d95ad | 00887abf | 00951e7b | 00a02b3c | 00a77f80 | 00b47b22
0008f3c2 | 001032c4 | 001e2086 | 00279313 | 003411ba | 003db5f7 | 004880e9 | 0052542a | 005d8720 | 00681c05 | 0073d295 | 007fa7cb | 008ac774 | 009440ef | 009ef4bd | 00a9e0d3 | 00b31fb7
0006d082 | 001271a2 | 001c2b26 | 0028fe66 | 00330326 | 003bb830 | 0049baec | 00554312 | 005fd42f | 0069f258 | 0072bc93 | 007eda6d | 00888faf | 00936e43 | 009f1235 | 00a84fb0 | 00b4ded8
00079191 | 00121b0f | 001ead3c | 0028b203 | 003470bd | 003f20e3 | 0048e7e4 | 0052e12a | 005e197a | 00687753 | 007506e2 | 007cf23d | 0089a896 | 00947bc8 | 00a0473f | 00aa3743 | 00b3ebad
00087ffd | 00136ccf | 001cd436 | 0026b889 | 0031f620 | 003d91f7 | 00485e8b | 00531949 | 005f3efd | 006ac651 | 007303dd | 007fc1d5 | 0089cc27 | 00925d65 | 009e96ed | 00a921e0 | 00b4ebe0
000786fc | 0011450f | 001ee510 | 00297642 | 00345dc6 | 003dbc6e | 00490af7 | 005454a9 | 005edd11 | 0068c5df | 00754e0b | 007d93aa | 00892ff6 | 00952e72 | 009eaed9 | 00a8b6cb | 00b36d76
0006e2ef | 0013dd60 | 001c6bb2 | 0026b5b8 | 0033ab8a | 003edc16 | 004744f5 | 005283b0 | 005e8a6c | 006971cf | 00740bd9 | 00801e1f | 008a72bb | 0092d8ad | 009ff0bb | 00a9ee2a | 00b48917
0008c6f3 | 0012d2c8 | 001d3359 | 0029058f | 0032344e | 003cd852 | 0049fd20 | 00549c5b | 005f6d47 | 0069d44c | 00731f86 | 007dbf05 | 0088caba | 009586e9 | 009e4d60 | 00a882ef | 00b2dab1
0007d12e | 00113176 | 001e33f7 | 002771ea | 0033d49d | 003ed5a1 | 0047e435 | 0052f92c | 005d5f7d | 00669163 | 0074c159 | 007fec67 | 008a3f5b | 0093e9df | 009e1f22 | 00aaaf92 | 00b5b897

## Bit0 - Full Range RE
Bit 0 Error Voltages at different Reference inputs (in mV)
| 0.1V | 0.2V | 0.3V | 0.4V | 0.5V | 0.6V | 0.7V | 0.8V | 0.9V | 1.0V | 1.1V | 1.2V | 1.3V | 1.4V | 1.5V | 1.6V | 1.7V |  | DAC Voltage | DAC Value Hex | DAC Value Dec | Theoretical Threshold timer (ms) | Theoretical Threshold Counter
| 31.9965 | 27.6686 | 28.8917 | 25.6914 | 15.7424 | 33.478 | 9.6973 | 3.3679 | 4.0864 | 15.8645 | 3.1436 | -0.30098 | 3.5526 | 22.6764 | 18.2853 | 18.879 | 2.1918 |  | 0.1 | 0E39 | 3641 | 3.5 | 700000
| 13.7316 | 18.8145 | 18.23 | 17.6306 | 17.218 | 10.3877 | 14.5358 | 30.3716 | 23.416 | 3.8097 | 8.1196 | 17.851 | 12.9931 | 4.816 | 2.3554 | 6.4677 | 25.2485 |  | 0.2 | 1C72 | 7282 | 7 | 1400000
| 20.9445 | 31.1675 | 20.3148 | 18.6338 | 22.845 | 24.4661 | 21.2564 | 22.5962 | 18.6536 | 16.3681 | 28.6294 | 16.0653 | 18.9484 | 22.0668 | 20.8967 | 22.2411 | -2.2384 |  | 0.3 | 2AAB | 10923 | 10.5 | 2100000
| 34.9307 | 20.9777 | 33.1542 | 25.2364 | 14.8427 | 24.2525 | 12.4293 | 6.1208 | 13.935 | 2.692 | -0.64612 | 6.5529 | 9.78 | 8.0582 | 21.1586 | 2.8723 | 14.6411 |  | 0.4 | 38E4 | 14564 | 14 | 2800000
| 19.4079 | 32.5552 | 16.0185 | 13.6476 | 20.9822 | 9.4423 | 27.2769 | 22.7075 | 35.0483 | 19.1425 | 21.7246 | 21.5502 | 28.7961 | 7.2945 | 2.0002 | 21.5689 | 1.1825 |  | 0.5 | 471C | 18204 | 17.5 | 3500000
| 18.9489 | 29.2333 | 29.3651 | 29.8232 | 12.494 | 30.8741 | 6.182 | 3.8647 | 6.0568 | 4.5486 | 16.7957 | 3.4273 | 6.7856 | 16.1902 | 14.8747 | 16.4068 | 11.3457 |  | 0.6 | 5555 | 21845 | 21 | 4200000
| 34.4972 | 17.7492 | 17.4747 | 13.6252 | 18.1874 | 8.9808 | 20.5671 | 23.4327 | 16.8967 | 14.7743 | 6.5972 | 22.029 | 26.4219 | 10.0323 | 17.7936 | 6.6732 | 23.9892 |  | 0.7 | 638E | 25486 | 24.5 | 4900000
| 23.7086 | 40.2322 | 41.7791 | 23.7893 | 19.5379 | 33.989 | 27.8508 | 10.2963 | 14.2358 | 28.0855 | 28.5161 | 4.273 | 1.4186 | 16.9067 | 6.2833 | 32.6721 | 2.8757 |  | 0.8 | 71C7 | 29127 | 28 | 5600000
| 14.5199 | 12.299 | 13.9185 | 10.7065 | 18.5551 | 13.2192 | 9.5477 | 11.6092 | 5.7709 | 4.1324 | -2.1758 | 13.2514 | 21.6582 | 0.6035 | 17.3738 | 4.3893 | 22.9457 |  | 0.9 | 8000 | 32768 | 31.5 | 6300000
| 32.3166 | 25.5069 | 42.5364 | 36.6876 | 20.4412 | 24.3132 | 36.5512 | 26.5117 | 20.8859 | 22.9246 | 9.7695 | 23.4143 | 1.8799 | 18.1236 | 22.1066 | 20.3763 | -1.2994 |  | 1 | 8E39 | 36409 | 35 | 7000000
| 33.995 | 36.7832 | 15.9355 | 12.7593 | 10.0764 | 26.4181 | 8.086 | 7.9496 | 3.0994 | 7.2269 | 19.2503 | 14.601 | 17.5099 | 7.7232 | 5.4006 | 22.455 | 20.311 |  | 1.1 | 9C72 | 40050 | 38.5 | 7700000
| 17.285 | 16.2069 | 23.1578 | 29.9079 | 29.3842 | 11.942 | 30.3435 | 29.4048 | 16.5736 | 18.7626 | 3.4602 | 27.0381 | 3.1918 | 11.0048 | 14.8215 | 4.0332 | -0.59201 |  | 1.2 | AAAB | 43691 | 42 | 8400000
| 30.3723 | 35.9728 | 16.1551 | 36.6513 | 10.2732 | 41.7662 | 38.6438 | 11.1135 | 23.5315 | 15.8274 | 25.4906 | 8.3721 | 10.903 | 19.3656 | 10.6524 | 26.0413 | 20.1379 |  | 1.3 | B8E4 | 47332 | 45.5 | 9100000
| 34.5859 | 20.2363 | 19.3438 | 19.1425 | 16.8074 | 8.093 | 8.7292 | 14.6919 | 6.463 | 5.6741 | 2.1812 | 20.8863 | 23.2218 | 5.9542 | -0.12308 | 3.0112 | -1.5643 |  | 1.4 | C71C | 50972 | 49 | 9800000
| 17.9354 | 30.5253 | 29.3965 | 28.2733 | 27.6613 | 45.3447 | 27.3422 | 24.5249 | 18.4664 | 26.8042 | 11.4028 | 5.1875 | 6.2512 | 15.599 | 11.8984 | 16.8761 | 24.2791 |  | 1.5 | D555 | 54613 | 52.5 | 10500000
| 23.6863 | 32.3793 | 18.8638 | 17.1526 | 11.3086 | 9.5351 | 11.0431 | 3.5106 | 3.1654 | 5.8951 | 22.7593 | 10.492 | 30.4689 | 5.075 | 14.2571 | 36.6257 | 2.4446 |  | 1.6 | E38E | 58254 | 56 | 11200000
| 27.187 | 18.8037 | 35.5971 | 34.5401 | 22.71 | 20.3469 | 26.9021 | 31.2199 | 16.9571 | 25.7052 | 6.0472 | 17.0794 | 6.7705 | 16.3329 | 3.2292 | 6.0376 | 10.4774 |  | 1.7 | F1C7 | 61895 | 59.5 | 11900000
| 14.9571 | 38.6396 | 17.0479 | 12.7751 | 13.5918 | 34.8908 | 7.3633 | 5.2119 | 23.6003 | 2.3341 | 19.4553 | 6.4637 | 16.9049 | 7.5758 | 17.9694 | 25.9499 | 6.7079
| 20.1971 | 13.7731 | 36.5902 | 37.2521 | 18.14 | 13.2684 | 14.4188 | 15.3206 | 4.2435 | 19.9105 | 4.1019 | 18.7534 | 1.5677 | 8.6872 | 9.5522 | 4.8325 | 5.9079
| 43.6217 | 25.7895 | 17.5571 | 10.0642 | 28.0354 | 34.5087 | 26.4807 | 30.9927 | 23.4149 | 16.6601 | 6.2528 | -1.9386 | 28.04 | 31.3629 | -0.11089 | 17.4537 | 33.6572
| 14.2081 | 34.1493 | 32.9588 | 34.8663 | 6.7005 | 14.8672 | 14.3743 | 6.4947 | 8.7939 | 10.4338 | 23.1178 | 18.7358 | 1.8855 | 8.2454 | 15.3425 | 14.9115 | 2.4624 |  | Measured 3 Values: | 17.2ms (0.5V) | Looks like ratio of X35
| 18.119 | 21.3615 | 11.2956 | 12.1845 | 26.2856 | 27.5743 | 35.1523 | 26.7252 | 13.3799 | 37.6643 | 13.6199 | 2.7352 | 12.571 | 28.5086 | 17.3159 | 4.0757 | 23.2992 |  |  | 43.6ms (1V)
| 25.3616 | 36.1751 | 21.6437 | 22.1169 | 9.5633 | 9.6066 | 6.685 | 8.5375 | 19.2593 | 1.9429 | 18.3543 | 8.2923 | 17.8625 | 3.8007 | 0.05271 | 24.2732 | 0.68972 |  |  | 53ms (1.5V)
| 30.3883 | 15.6007 | 34.785 | 29.7269 | 19.2889 | 14.332 | 18.3495 | 23.3094 | 6.1175 | 14.2037 | 24.5968 | 17.2413 | 6.3175 | 30.482 | 14.9115 | 3.2957 | 25.9946
| 15.1403 | 23.9404 | 21.5103 | 9.7253 | 16.3709 | 25.9175 | 50.2517 | 10.0521 | 27.7 | 14.405 | 4.365 | 10.1774 | 21.2162 | 4.1101 | 12.2858 | 17.1087 | -3.1874
| 24.3768 | 38.8363 | 40.7401 | 30.3796 | 14.7125 | 11.0682 | 7.1479 | 9.5211 | 2.9542 | 5.7754 | 27.3398 | 26.8707 | 6.9177 | 14.7119 | 1.2402 | 15.8069 | 24.6715
| 29.7887 | 14.3682 | 19.8328 | 17.9173 | 23.9371 | 42.3628 | 29.7858 | 44.1154 | 7.9168 | 21.1225 | 3.1151 | -2.0804 | 23.775 | 12.9548 | 16.1031 | 6.3474 | 7.7616
| 16.2836 | 40.1507 | 30.7249 | 36.9594 | 9.6911 | 9.5286 | 8.0808 | 3.5671 | 25.5315 | 9.531 | 13.5081 | 23.2615 | 2.7705 | 7.5472 | 16.3614 | 19.6304 | 14.4648
| 19.0928 | 18.635 | 14.0431 | 9.6524 | 29.9856 | 24.8749 | 24.6329 | 23.7785 | 5.4062 | 25.9236 | 28.3946 | 18.9346 | 17.001 | 23.6943 | 3.4085 | 0.095187 | 8.5165
| 29.3654 | 20.4345 | 38.4555 | 29.2388 | 9.4905 | 8.6127 | 31.1793 | 17.6584 | 21.6656 | 8.8918 | 6.076 | 8.6722 | 15.1643 | 6.7644 | 15.1183 | 11.8607 | 10.1378
| 21.6674 | 30.8515 | 20.2846 | 13.1969 | 17.5252 | 19.9747 | 11.0973 | 10.7766 | 16.5091 | 17.3202 | 37.8697 | 25.4856 | 6.9959 | 22.9035 | 17.0652 | 16.9099 | 14.1395
| 16.5548 | 14.4606 | 28.4933 | 25.2807 | 23.4102 | 22.6633 | 25.4045 | 34.1966 | 5.7017 | 29.4813 | 5.4276 | 4.5617 | 36.5518 | 1.3151 | 2.1641 | 4.7755 | 1.223
| 27.0488 | 34.853 | 17.2256 | 49.0636 | 12.5714 | 15.5833 | 11.3921 | 5.4614 | 32.4223 | 6.0489 | 10.8705 | 31.1341 | 5.6191 | 24.9899 | 17.9509 | 32.5287 | 19.1568
| 25.6842 | 14.3487 | 21.1283 | 14.9814 | 33.9157 | 30.0714 | 39.9924 | 23.7986 | 6.504 | 32.5967 | 28.6105 | 2.281 | 27.1452 | 7.5826 | 15.0276 | 5.5421 | 8.6749
| 21.1671 | 18.8781 | 43.3225 | 30.7158 | 9.4817 | 7.9741 | 6.0587 | 5.9079 | 21.4148 | 3.7283 | 2.6055 | 15.1451 | 6.3887 | 13.1469 | 2.2263 | 14.2126 | 23.338
| 29.9448 | 34.0541 | 18.7653 | 11.7074 | 21.4276 | 24.3097 | 14.2569 | 10.0758 | 22.2908 | 19.3086 | 20.3221 | 7.5621 | 16.1728 | 19.7741 | 13.358 | 19.2179 | -3.5462
| 35.3344 | 14.0141 | 33.6045 | 31.1745 | 25.2094 | 30.1618 | 29.1505 | 29.3658 | 6.9272 | 8.5197 | 10.5436 | 6.4724 | 9.0562 | 1.4471 | 16.1584 | 9.0779 | 21.7457
| 16.8927 | 34.8824 | 16.567 | 11.9167 | 15.7259 | 10.9951 | 9.2945 | 5.4625 | 22.2067 | 11.4918 | 4.9724 | 17.6428 | 11.0366 | 36.8816 | 15.5731 | 19.6824 | -1.6922
| 23.7702 | 25.8345 | 35.5593 | 37.7999 | 30.638 | 26.6442 | 29.0809 | 26.7276 | 1.4514 | 19.0215 | 20.1572 | 3.7779 | 14.7273 | 0.59019 | 15.0184 | 1.6044 | 14.8975
| 36.3098 | 16.598 | 11.0143 | 10.5095 | 10.4558 | 11.7036 | 5.0166 | 9.419 | 11.9909 | 6.017 | 4.4647 | 34.0136 | 7.103 | 17.5085 | 9.9081 | 8.8762 | 50.5358
| 17.0655 | 44.3593 | 28.7061 | 28.8643 | 24.7214 | 25.1579 | 17.4114 | 16.3957 | 19.3649 | 25.0466 | 22.6724 | -1.3824 | 18.373 | 1.836 | 4.4207 | 23.2109 | 12.6126
| 23.8061 | 12.9925 | 13.0189 | 13.6538 | 10.6977 | 14.2584 | 23.394 | 25.6867 | 1.5995 | 3.4152 | 17.5574 | 20.1172 | 2.0882 | 12.0646 | 16.8024 | 5.347 | 19.3814
| 28.2599 | 31.6564 | 21.7235 | 19.5025 | 17.1812 | 14.6634 | 9.0471 | 9.1895 | 19.6412 | 16.9625 | 10.3414 | 3.9258 | 24.7849 | 21.6029 | 20.7899 | 17.0745 | -1.0915
| 24.2226 | 47.1008 | 30.3918 | 32.2685 | 23.098 | 29.0926 | 23.9839 | 24.8563 | 14.0406 | 31.7036 | 24.2533 | 8.8049 | 2.6051 | 10.9974 | 5.05 | 25.3267 | 18.8142
| 15.0174 | 16.567 | 20.3429 | 15.752 | 19.7502 | 14.0065 | 7.5519 | 12.2797 | 4.816 | 4.5383 | 1.5027 | 22.085 | 12.5673 | 23.2977 | 15.4194 | 5.5023 | 11.1723
| 22.3527 | 35.27 | 31.6853 | 26.6309 | 33.6035 | 38.0183 | 29.9254 | 18.6868 | 49.1019 | 24.7169 | 17.1433 | 0.30757 | 18.0097 | 6.6278 | 20.8356 | 30.4611 | 27.5408
| 32.0104 | 15.448 | 16.0485 | 18.3 | 8.2266 | 9.5466 | 5.9955 | 26.9264 | 7.7828 | 6.592 | 16.5557 | 20.6736 | 7.6051 | 33.2139 | 1.3622 | 6.5263 | -2.2995
| 18.4178 | 27.9976 | 30.5788 | 32.8625 | 21.6854 | 25.9517 | 12.583 | 7.2325 | 20.4076 | 23.8479 | 7.7764 | 2.316 | 13.7019 | -0.098551 | 17.413 | 16.7727 | 28.0836
| 19.6929 | 25.7043 | 19.3873 | 12.572 | 21.1399 | 24.0086 | 31.9649 | 31.9398 | 20.4695 | 4.005 | 28.7006 | 17.32 | 7.4155 | 15.1342 | 22.8533 | 11.4558 | 0.47593
| 35.7765 | 18.5422 | 34.2761 | 33.494 | 11.4565 | 12.7293 | 12.7643 | 11.8396 | 5.6514 | 13.8571 | 3.9297 | 5.2881 | 18.5612 | 14.8782 | 2.2005 | 6.2362 | 16.5461
| 14.3815 | 36.6063 | 15.4496 | 7.6682 | 37.0298 | 28.5869 | 27.2916 | 14.4252 | 31.5552 | 29.0812 | 8.8461 | 12.2711 | 0.32565 | 14.7314 | 13.4982 | 24.2425 | 2.7414
| 19.2482 | 11.8839 | 28.8129 | 30.9387 | 10.9794 | 10.7735 | 12.2019 | 27.3659 | 5.8963 | 6.3181 | 18.4814 | 21.1786 | 15.7661 | 24.7949 | 18.1476 | 4.875 | 6.4541
| 31.4104 | 29.5433 | 16.7101 | 29.3373 | 27.3576 | 28.776 | 15.4088 | 9.9575 | 11.5379 | 26.6291 | 1.9203 | 6.2971 | 0.058178 | 6.381 | 1.3688 | 24.8115 | 17.7831
| 27.6715 | 20.7712 | 23.8539 | 13.9092 | 9.7427 | 13.92 | 39.2329 | 30.1472 | 31.8831 | 1.2161 | 12.9821 | 20.7172 | 13.8336 | 18.5052 | 18.8016 | 23.0442 | 1.0107
| 16.5925 | 19.1739 | 33.6107 | 31.0745 | 12.9343 | 17.8587 | 11.3394 | 3.6188 | 10.65 | 20.0664 | 23.8922 | 4.1404 | 30.3841 | 5.5843 | 18.2211 | 9.1665 | 21.0311
| 27.6562 | 34.313 | 22.8098 | 10.9262 | 24.8193 | 24.3126 | 39.5788 | 34.6884 | 23.5298 | 5.4454 | 5.1479 | 16.9529 | 9.0656 | 17.8775 | -0.43921 | 32.2778 | 8.6236
| 30.3257 | 16.1923 | 29.2856 | 44.0319 | 17.5602 | 16.7214 | 9.1388 | 35.7167 | 6.6952 | 6.18 | 32.4234 | 1.1291 | 27.5665 | -1.1279 | 11.9558 | 4.1777 | 26.942
| 13.7226 | 27.6971 | 18.2888 | 9.9918 | 31.9211 | 32.94 | 24.4556 | 8.7887 | 12.9536 | 26.8033 | 1.696 | 16.6881 | 5.0969 | 11.8786 | 14.9652 | 14.2682 | -1.1798
| 23.8628 | 30.6953 | 42.2397 | 27.3467 | 11.5876 | 9.652 | 28.9729 | 22.9064 | 25.3192 | 5.818 | 12.7068 | 20.9104 | 19.9235 | 26.0278 | 4.768 | 24.644 | 27.1515
| 38.7544 | 17.8051 | 13.7563 | 10.1889 | 20.534 | 32.0805 | 11.8703 | 5.5298 | 5.7088 | 22.3925 | 22.0276 | 8.8043 | 4.9119 | 2.7751 | 26.1355 | 11.5515 | -0.99645
| 16.0326 | 31.8028 | 35.9104 | 29.5977 | 27.9768 | 7.5657 | 29.0064 | 22.4769 | 26.6888 | -0.1064 | 9.3007 | 32.4373 | 20.3344 | 17.4833 | 12.7151 | 27.3946 | 13.2371
| 18.9041 | 12.5893 | 14.7109 | 31.6831 | 9.5657 | 21.0149 | 5.8302 | 23.6858 | 5.7653 | 15.7356 | 20.0429 | 8.4335 | -0.62299 | 3.2929 | 2.6832 | 6.6066 | 15.8756
| 27.0086 | 29.191 | 25.1207 | 15.9966 | 36.5627 | 28.6311 | 22.5318 | 15.8769 | 12.6456 | 20.3341 | 6.9317 | 32.7611 | 12.4789 | 17.4443 | 13.6448 | 18.2891 | 11.3535
| 20.1938 | 33.4079 | 27.235 | 38.8888 | 8.8117 | 6.7169 | 40.0346 | 39.3686 | 20.2461 | 8.1613 | 9.3049 | 3.7133 | 9.6153 | 3.562 | 12.841 | 19.3047 | 32.2492
| 19.4938 | 16.7279 | 23.9198 | 12.5176 | 13.8603 | 28.5747 | 12.9275 | 4.8457 | 1.0853 | 22.0276 | 21.6102 | 24.3862 | 6.7105 | 12.8934 | -0.36911 | 4.4069 | 2.4233
| 28.0654 | 35.3186 | 23.7 | 31.561 | 18.5861 | 15.5399 | 22.5684 | 18.7803 | 30.6266 | 6.0914 | 6.068 | 13.3594 | 20.3892 | 21.5065 | 13.9874 | 34.0657 | 21.8187
| 24.2371 | 11.8965 | 16.2855 | 8.8476 | 11.4114 | 30.2282 | 7.829 | 30.785 | 17.1205 | 23.4993 | 16.7242 | 14.4031 | 1.935 | 6.2376 | 16.5411 | 11.4139 | 1.5342
| 20.1213 | 26.8866 | 26.7237 | 41.1656 | 32.7444 | 11.5291 | 26.8124 | 13.6117 | 6.6111 | 1.6157 | 21.4724 | 30.722 | 21.2572 | 28.435 | 5.2794 | 7.2199 | 15.4898
| 30.8191 | 34.1155 | 12.8368 | 10.655 | 6.1719 | 17.4845 | 6.1975 | 24.8836 | 19.5946 | 23.6387 | 3.0873 | 4.914 | 2.8835 | 7.028 | 17.6474 | 21.1365 | -2.2832
| 28.9356 | 21.1608 | 27.7243 | 21.321 | 19.3923 | 29.3616 | 13.6106 | 10.5676 | 4.2517 | 26.3616 | 25.3193 | 19.4902 | 24.9136 | 24.3261 | 20.3678 | 1.8683 | 14.3417
| 19.0653 | 32.4552 | 13.0988 | 17.7327 | 33.7187 | 14.7632 | 28.5216 | 16.7429 | 16.7671 | 7.5866 | 0.021308 | 4.2677 | 2.6577 | 5.0683 | 0.50005 | 26.2871 | 25.7551
| 26.4362 | 16.9218 | 31.1875 | 12.82 | 12.5211 | 27.8198 | 14.4721 | 23.5972 | 20.3603 | 23.3003 | 14.0905 | 19.3228 | 13.5265 | 14.7543 | 16.0845 | 7.546 | 3.8636
| 31.9207 | 31.4471 | 15.7407 | 30.5626 | 30.1434 | 10.2102 | 22.6657 | 9.6939 | 9.8145 | 6.3461 | 33.7469 | 2.8053 | 25.824 | 30.8914 | 15.2704 | 8.4 | 20.1744
| 14.4922 | 34.4955 | 30.1001 | 12.0388 | 13.2311 | 24.1103 | 4.7337 | 36.1647 | 30.3346 | 25.4242 | 1.1535 | 14.2363 | 4.5889 | 8.342 | 6.9271 | 19.7174 | 6.7358
| 29.2099 | 21.2265 | 12.5774 | 35.8894 | 21.9199 | 15.5563 | 13.9287 | 3.2117 | 3.3875 | 1.2128 | 19.7734 | 14.3415 | 21.8326 | 25.7913 | 14.7422 | 2.9171 | 19.3824
| 32.5978 | 36.601 | 22.7176 | 10.5911 | 14.0903 | 15.7046 | 31.8182 | 15.0307 | 18.7758 | 23.776 | 18.4556 | 5.9551 | 4.7464 | 2.68 | 17.8911 | 24.4709 | 4.6164
| 18.7995 | 14.6439 | 29.4492 | 27.9231 | 13.0971 | 29.4886 | 10.8608 | 24.2159 | 21.7848 | 11.6344 | 5.894 | 26.2658 | 38.4857 | 28.5303 | -1.8349 | 1.9276 | 26.4792
| 29.3145 | 28.4399 | 16.8686 | 9.5947 | 24.2194 | 10.3447 | 21.6404 | 3.5671 | 2.9694 | 6.4189 | 20.2985 | 6.5187 | -0.023832 | 3.329 | 16.3709 | 4.4421 | -4.7373
| 28.3935 | 34.6653 | 44.6254 | 29.9424 | 8.6948 | 39.4472 | 3.8378 | 29.5065 | 23.5667 | 30.1164 | 5.5771 | 25.9162 | 20.1606 | 14.5479 | 25.5171 | 18.8673 | 18.9482
| 19.5841 | 18.7311 | 16.6234 | 19.9806 | 29.497 | 7.1439 | 18.704 | 4.9951 | 7.6907 | 3.4102 | 15.9332 | 3.9582 | 4.8784 | 13.5603 | -0.24294 | 5.6303 | 19.4493
| 22.928 | 49.3399 | 33.0864 | 19.8506 | 11.4994 | 22.1296 | 22.7786 | 17.068 | 17.5836 | 20.4779 | 21.7956 | 14.8886 | 9.4686 | 7.7382 | 17.9598 | 23.5335 | 13.3314
| 29.3501 | 15.1494 | 15.1382 | 28.2198 | 16.7471 | 25.7279 | 9.1175 | 22.8007 | 22.2214 | 5.6024 | 2.1687 | 3.932 | 20.6371 | 35.6561 | 15.6629 | 24.15 | 30.4021
| 21.9683 | 30.3939 | 43.9005 | 17.7045 | 24.6657 | 13.5949 | 23.7407 | 11.7893 | 16.6389 | 22.5673 | 22.1261 | 10.733 | 4.9643 | 13.4097 | -0.45743 | 10.3155 | 3.7357
| 18.7678 | 31.88 | 14.1292 | 31.5981 | 12.7712 | 36.8752 | 8.3801 | 27.7131 | 28.253 | 9.4834 | 0.72841 | 35.4485 | 39.5676 | 18.1506 | 17.6459 | 23.9764 | 28.6438
| 46.0597 | 18.4736 | 37.22 | 11.5794 | 29.0561 | 7.5861 | 22.9681 | 6.7032 | 3.8184 | 12.7214 | 9.8895 | 5.3627 | 1.0637 | 0.86565 | 22.063 | 3.0212 | 1.1422
| 17.4894 | 34.6315 | 12.098 | 48.3708 | 12.8195 | 36.0104 | 12.2657 | 15.3238 | 17.3532 | 23.9515 | 25.0825 | 40.51 | 24.5268 | 22.011 | 2.9488 | 14.9321 | 32.0421
| 17.1273 | 13.9335 | 23.6498 | 19.0814 | 13.3392 | 12.6022 | 12.0282 | 29.7045 | 21.1814 | 8.3268 | 1.1371 | -0.58668 | 1.1187 | 4.8038 | 17.5696 | 21.3729 | -0.38509
| 29.1956 | 29.7213 | 14.5388 | 28.3159 | 20.789 | 16.2907 | 36.3231 | 12.4388 | 5.5873 | 32.6099 | 25.7249 | 21.8406 | 19.9204 | 7.2827 | 9.3379 | 0.50874 | 26.7102
| 23.5841 | 28.1903 | 22.7962 | 12.5264 | 22.7002 | 34.2223 | 11.3929 | 44.9361 | 34.4459 | 6.1039 | 13.8049 | 2.9371 | -1.7256 | 18.6094 | 2.4701 | 28.0699 | 2.2703
| 18.5634 | 16.4948 | 32.1527 | 18.8593 | 27.8986 | 9.6391 | 30.8038 | 5.7646 | 4.3455 | 20.9763 | 15.5229 | 11.4876 | 11.4917 | 5.3905 | 20.9759 | 6.1642 | 20.0994
| 27.9976 | 44.3965 | 12.658 | 28.5098 | 4.5709 | 29.5164 | 8.3471 | 15.1157 | 19.8929 | 5.091 | 39.2005 | 32.0679 | 19.0138 | 25.6126 | 6.8815 | 10.9363 | 5.275
| 33.4483 | 23.5644 | 29.7062 | 14.1848 | 13.6765 | 13.5203 | 15.5006 | 26.7322 | 28.81 | 6.863 | 3.7569 | 4.2226 | 4.5995 | 6.2069 | -0.67079 | 24.2058 | 10.2809
| 17.4712 | 28.5199 | 14.4314 | 38.4643 | 22.3967 | 20.6526 | 21.5634 | 5.1889 | 6.7203 | 30.2609 | 13.3817 | 37.78 | 15.0925 | 13.3029 | 16.8414 | 11.3665 | 19.5906
| 33.6817 | 21.6844 | 34.3754 | 17.162 | 10.5739 | 25.5478 | 11.2897 | 28.1275 | 40.8022 | 7.0243 | 18.5487 | -1.4036 | -0.075561 | 26.0564 | 1.926 | 31.9074 | 6.3315
| 33.3674 | 19.9637 | 14.1749 | 43.4055 | 35.4564 | 9.3791 | 34.7627 | 5.2772 | 1.9644 | 26.7869 | 8.2106 | 20.5506 | 22.85 | 6.5629 | 7.7021 | 8.4681 | 25.8785
| 15.712 | 35.7257 | 36.706 | 15.86 | 18.8473 | 24.141 | 3.5401 | 16.7947 | 20.8012 | 3.817 | 25.2285 | 0.46584 | 1.0168 | 15.9938 | 21.7674 | 5.2536 | 3.9631
| 26.9316 | 20.3336 | 11.085 | 41.146 | 16.7293 | 9.5139 | 20.7611 | 29.9971 | 23.19 | 25.1794 | 5.4126 | 16.2387 | 23.8601 | 2.4519 | 4.335 | 26.6169 | 21.6397
| 25.6455 | 30.2654 | 26.5253 | 12.347 | 30.832 | 34.183 | 30.729 | 9.5574 | 6.2152 | 14.3012 | 10.5869 | 19.4484 | 7.3811 | 24.1123 | 3.0095 | 2.3572 | 0.61444
| 14.8667 | 27.6575 | 20.9896 | 27.3698 | 13.7577 | 11.2036 | 18.6073 | 25.2381 | 20.1935 | 6.9953 | 22.7543 | 2.6893 | 8.4341 | 3.5715 | 21.4529 | 15.6744 | 23.0171
| 25.5571 | 17.4036 | 23.998 | 17.2301 | 22.2252 | 19.427 | 26.3554 | 6.5711 | 11.4449 | 21.4357 | 3.5162 | 26.3466 | 13.6919 | 14.9148 | -0.21701 | 7.5779 | 0.4765
| 32.3769 | 35.8961 | 39.7206 | 17.9762 | 8.9699 | 32.3623 | 10.6961 | 16.666 | 27.9838 | 5.0226 | 22.0215 | 10.6333 | 15.6513 | 26.3462 | 6.1046 | 5.6529 | 24.8659
| 16.1582 | 14.8186 | 15.6193 | 28.8531 | 22.1267 | 13.2878 | 26.8664 | 34.0827 | 12.7985 | 28.325 | 32.9648 | 23.9878 | 18.3649 | 8.1264 | 13.5352 | 23.9553 | 1.1575
| 18.9645 | 29.1548 | 40.9187 | 13.3642 | 19.0029 | 28.6238 | 12.3861 | 15.8331 | 7.3295 | 0.55374 | 4.3206 | 3.3084 | 7.7763 | 19.9825 | -0.2543 | 6.6536 | 16.0016
| 31.785 | 23.0059 | 28.2357 | 31.246 | 12.9053 | 18.1035 | 12.3502 | 38.275 | 23.9816 | 16.1432 | 26.0435 | 18.6977 | 23.0431 | 3.496 | 5.0954 | 15.6486 | 19.4326
| 18.6649 | 23.3884 | 31.8293 | 11.3885 | 29.2485 | 19.3958 | 30.7543 | 14.0616 | 2.7125 | 17.0122 | 6.269 | 39.0725 | 2.1161 | 28.319 | 21.726 | 12.5742 | 13.2608
| 20.3436 | 39.697 | 13.7078 | 31.8262 | 9.9592 | 26.3101 | 10.6151 | 15.5937 | 24.1988 | 9.3275 | 13.9485 | 5.7022 | 16.1965 | 8.3399 | 3.0101 | 8.9396 | 13.8527
| 48.5619 | 15.158 | 34.5137 | 10.709 | 26.1471 | 10.2639 | 31.7584 | 29.7171 | 9.9615 | 22.1188 | 29.7708 | 25.334 | 17.9058 | 15.2166 | 1.6942 | 24.4423 | 3.4768
| 22.8137 | 37.483 | 22.8599 | 27.6583 | 12.976 | 27.2236 | 2.6159 | 8.3572 | 7.2364 | 4.575 | 9.1521 | 12.9949 | 6.8661 | 17.5388 | 23.7778 | 1.6381 | 20.6321
| 20.1693 | 18.5895 | 37.1314 | 9.9428 | 12.106 | 4.6667 | 18.0126 | 23.9997 | 21.3688 | 22.91 | 19.5997 | 32.2269 | 17.62 | 5.2511 | 11.5782 | 7.432 | -0.11523
| 37.8151 | 20.9155 | 12.3747 | 21.6596 | 22.0264 | 29.8293 | 31.4693 | 3.5826 | 6.5857 | 2.7377 | 2.8176 | -3.0446 | 4.7529 | 18.9545 | 9.8741 | 17.8109 | 31.9171
| 28.1979 | 31.1005 | 22.8177 | 36.0517 | 10.764 | 27.7586 | 8.6512 | 16.0461 | 25.8997 | 18.6521 | 6.5246 | 15.4371 | 26.0549 | 0.63603 | 21.3133 | 2.8444 | 2.0428
| 17.4827 | 15.8369 | 33.2637 | 11.8077 | 24.9355 | 16.0794 | 22.8676 | 21.711 | 3.6364 | 19.5241 | 18.5821 | 3.8603 | -1.1839 | 24.4893 | 0.10963 | 22.2737 | 21.0887
| 20.822 | 34.0473 | 18.9244 | 33.2219 | 23.3889 | 26.1064 | 10.0911 | 13.4471 | 14.2658 | 11.0226 | 2.1704 | 11.4142 | 18.1546 | 38.2636 | 15.4836 | 16.792 | 4.4966
| 26.9672 | 13.5467 | 34.2945 | 15.5186 | 21.7705 | 8.2295 | 20.7135 | 23.458 | 34.329 | 22.341 | 25.162 | 21.6838 | 10.8861 | 2.7793 | 23.1125 | 8.8385 | 17.6375
| 15.0467 | 29.7412 | 15.383 | 25.7505 | 16.7054 | 29.1614 | 20.7266 | 3.7084 | 9.6627 | 6.578 | 13.6796 | 4.8373 | 8.6124 | 25.2979 | 0.62187 | 24.8501 | 1.1905
| 20.1844 | 37.245 | 31.7406 | 9.5893 | 12.0153 | 13.2543 | 7.4895 | 16.115 | 33.9109 | 20.5591 | 6.5261 | 27.5851 | 24.1953 | 6.27 | 10.5579 | 3.5155 | 16.673
| 31.5757 | 16.2931 | 13.7722 | 29.0807 | 32.158 | 21.0419 | 35.6284 | 32.0952 | 3.3426 | 2.0762 | 18.0377 | 10.3904 | 2.8925 | 25.9199 | 12.7112 | 18.4556 | 0.98916
| 18.17 | 37.5244 | 35.0108 | 14.6326 | 9.5572 | 24.3548 | 8.0427 | 8.5374 | 13.4575 | 24.3394 | 4.6361 | 23.7873 | 21.8244 | 3.8317 | 0.44467 | 31.2404 | 10.0932
| 15.8846 | 47.4432 | 17.6066 | 28.9409 | 12.279 | 21.83 | 20.8047 | 28.6685 | 23.9103 | 24.8247 | 15.3436 | 4.7626 | 0.69701 | 11.7826 | 11.5877 | 9.373 | 22.5613
| 35.5242 | 26.8124 | 35.5999 | 15.902 | 21.9894 | 40.1249 | 9.5355 | 1.7201 | 2.7702 | 7.9458 | 25.3207 | 12.1328 | 21.073 | 19.3431 | 10.5301 | 23.769 | 6.5148
| 28.5957 | 29.9194 | 12.5568 | 18.6433 | 8.8692 | 8.8056 | 17.109 | 23.6083 | 18.658 | 21.548 | 4.2793 | 29.6528 | 10.9921 | 9.6707 | -0.56061 | 6.271 | 15.2415
| 20.0393 | 17.7983 | 29.5326 | 36.7838 | 31.6441 | 23.122 | 22.0381 | 21.5943 | 8.1245 | 0.33855 | 22.7623 | 3.8281 | 9.7157 | 29.1357 | 14.9544 | 16.2258 | 6.0471
| 28.9755 | 37.5994 | 10.5533 | 11.6005 | 9.5498 | 21.598 | 15.8502 | 10.2761 | 11.6387 | 18.7291 | 1.7256 | 23.8595 | 15.321 | 3.2588 | 14.0959 | 20.0687 | 19.7711
| 34.8629 | 13.7585 | 33.2835 | 36.8849 | 15.9463 | 11.2747 | 32.1436 | 26.963 | 14.6047 | 12.5586 | 13.2885 | 0.51603 | 3.7375 | 24.7114 | 2.5443 | 8.8943 | 9.5923
| 17.4927 | 23.326 | 26.1184 | 15.645 | 29.4126 | 29.7844 | 7.1596 | 7.7031 | 6.4633 | 9.0241 | 21.7696 | 22.3036 | 18.9541 | 0.083972 | 17.594 | 21.9299 | 25.0384
| 26.3128 | 38.3027 | 16.9089 | 30.1309 | 14.4722 | 11.5064 | 26.4285 | 22.7467 | 25.3328 | 38.9872 | 6.7748 | 2.3003 | 5.5813 | 14.9071 | 19.2536 | 1.9534 | -1.2997
Average: | 24.6246 | 26.3247 | 24.5957 | 22.9232 | 18.8075 | 20.7817 | 19.0344 | 17.9442 | 15.5473 | 14.8424 | 14.1003 | 14.0075 | 12.9147 | 13.998 | 11.3341 | 14.4526 | 12.6243 | 17.5798
Max Swing: | 34.8393 | 37.456 | 34.0721 | 41.3954 | 32.4589 | 40.678 | 47.6358 | 43.216 | 48.0165 | 39.0936 | 41.3763 | 43.5545 | 41.2932 | 39.3915 | 27.9704 | 36.5305 | 55.2732 | 40.2501
Note on Z2: Sadie Adriaan: The input to the system is a "triangle wave" with a slope of 50 ms. In reality, the slope looks more like 64ms to reach 1.8V from 0. So using this, we can get the theoretical threshold counter value.
Note on AA2: Sadie Adriaan: I measured the threshold values on the scope, but they seemed very crude. The 3 values that I measured: 17.2ms for 0.5V 43.6ms for 1V 53ms for 1.5V The first and last give a voltage to time ratio of +-35 ms/V. The 1V measurement is way out with like 43 ms/V. Initially I used that value to calculate the errors as well. The 1V error voltage was also way off, where the other two were much closer. Conclusion: I think my measurement of 1V of the scope was quite a way off. Would recommend to measure again with finer resolution. For now these theoretical counter values are calculated on the ratio of 35 ms/V. I can confirm after measuring that all values adhere to the 35 ms/V ratio.The above assumption is correct

## RAW Data - FE
Bit 0
0.5V | 1V | 1.5V
016557a3 | 012cb6c7 | 00f71c02
016284ae | 012e39b3 | 00f8bf08
016545e2 | 012c93ad | 00f8b3c7
0163051f | 012df0d8 | 00f81a43
0164c227 | 012bd1c3 | 00f85447
01646908 | 012cedf7 | 00f6c216
01633dbf | 012cd73d | 00f8da1a
0164c616 | 012d2654 | 00f7c3ef
016255af | 012e5bfb | 00f8b342
01645807 | 012d3e50 | 00f7b543
0162b4bf | 012ef04a | 00f900e8
0164c911 | 012d3a45 | 00f6993e
01626ece | 012ef02e | 00f91013
0165112d | 012c10f3 | 00f64fac
01633be8 | 012f30ba | 00f8b340
01654a86 | 012c92da | 00f61114
0163d655 | 012f70fa | 00f8f32b
0163b827 | 012cf183 | 00f6c00a
0163e16f | 012f02e6 | 00f9a47b
01627df8 | 012c76e4 | 00f69007
01648c64 | 012f5932 | 00f9ac47
0161c87a | 012c65c3 | 00f67b4d
016535ae | 012ee84e | 00f9e07c
016243f5 | 012ad5fe | 00f6f405
0164a2e6 | 012eed5b | 00f95afb
0161964c | 012bf2e4 | 00f65287
01652aa7 | 012f2910 | 00f9f768
01630136 | 012baa89 | 00f6b992
01651857 | 012f7003 | 00f9d0d3
01636bd7 | 012bdc7e | 00f76335
01654843 | 012e9559 | 00f98fac
0164989e | 012b118a | 00f6c889
0162a889 | 012e7571 | 00f9d08c
01651a5d | 012b43ad | 00f6fc81
0162c492 | 012ec750 | 00f92925
0164a562 | 012ad97e | 00f6cf0d
0162c521 | 012e675f | 00f97283
0164fa1f | 012a9a9e | 00f6e9e9
0161c600 | 012ebcdc | 00f9a6a3
01659ee2 | 012c28fe | 00f7714b
01636e05 | 012deef0 | 00f9c9ce
016572e6 | 012aee18 | 00f760d1
0162bca1 | 012ecc58 | 00f9f1e9
0165575f | 012bb7b1 | 00f7b08b
0164098e | 012e93b9 | 00f91965
016474a3 | 012b932c | 00f728dc
016412d1 | 012eb95b | 00f8e80f
016387c4 | 012c8cb8 | 00f7e64a
016538e9 | 012ded5d | 00f8dadb
01632983 | 012c43a6 | 00f735ad
01659387 | 012ed4a1 | 00f92da6
0160f4ef | 012b0a68 | 00f79a49
01656a96 | 012e0f02 | 00f9b4fc
0161e8a4 | 012ad514 | 00f76fec
01658e71 | 012efdac | 00f8e07b
0162457d | 012b69a4 | 00f79b59
01653ad3 | 012eee2c | 00f94c3e
016361b2 | 012b2bbd | 00f75da1
0165711f | 012dd3a4 | 00f9d4d6
0163dc21 | 012bcaa1 | 00f744df
01611520 | 012eee68 | 00f9c004
01647dc4 | 012b9442 | 00f74202
0162e120 | 012f24cc | 00f9b766
0163cb9f | 012baf6b | 00f77236
01630e3a | 012f28c8 | 00f9be33
01653501 | 012b2d7a | 00f77406
01612020 | 012ea847 | 00f94479
016588e0 | 012b7a4b | 00f6d287
01615ea9 | 012f75be | 00f9a99f
0165af08 | 012bfabb | 00f6eb80
0161c407 | 012f45da | 00f96a5a
0165e746 | 012c8f39 | 00f5e8b4
01633661 | 012fb4eb | 00f97f05
01657f89 | 012cb2ba | 00f5cd7d
0163a62b | 012ed31d | 00f946e5
016284cf | 012d4ded | 00f6002a
01645115 | 012d76cd | 00f8ff33
016207d7 | 012d4ba1 | 00f46dda
01643200 | 012e436b | 00f91ec6
0162f918 | 012d7fc4 | 00f67cee
0165410f | 012c9340 | 00f9aef2
01632d3c | 012e11b2 | 00f552f5
016567c6 | 012b7090 | 00f98503
016208f4 | 012ea415 | 00f6b8f8
0164e733 | 012bf94f | 00f8b74f
0162e5ef | 012eb954 | 00f73b5e
01655d72 | 012b3600 | 00f8c113
0162f6a6 | 012e6831 | 00f71040
0165cc05 | 012be1ce | 00f8c575
016334f7 | 012ecf6b | 00f70b31
01659ac0 | 012b04a2 | 00f86e9f
0163fab1 | 012f8007 | 00f9384c
016280e2 | 012c83ec | 00f7be4e
01646dae | 012f510e | 00f979a7
0162148d | 012bcd0e | 00f78a73
016498e7 | 012eba64 | 00f93423
01634c26 | 012d6380 | 00f710b9
01644a7d | 012efae1 | 00f99b35
0162985a | 012d8423 | 00f6a6e9
0164953e | 012d7631 | 00fa110b
01610027 | 012e6e72 | 00f69d28
01651da1 | 012c25b8 | 00f97089
0161d01c | 012e4de9 | 00f5fc82
0165a69d | 012c1019 | 00f98c4d
016280df | 012ed4e5 | 00f726f2
0165c21b | 012c8458 | 00f92ae3
0162d6b9 | 012ed49e | 00f5248c
0163bcd2 | 012bca56 | 00f91651
0162c60e | 012f17d6 | 00f6f868
0164c0b4 | 012aa8bf | 00f8e2e1
01638d70 | 012effea | 00f652b6
01653494 | 012cbff6 | 00f9074d
0163b144 | 012ef469 | 00f73ac6
0164f98a | 012d17db | 00f8e376
01644be5 | 012e53d8 | 00f6f8df
016395b8 | 012d1e80 | 00f89cda
016437ae | 012d5fa4 | 00f6d467
016255fc | 012e96d6 | 00f87b4b
016487ae | 012c5adc | 00f800d0
016277e6 | 012e1a73 | 00f829eb
016535c0 | 012b8494 | 00f97e0b
01625f62 | 012e8c2e | 00f78f75
01650571 | 012baf72 | 00f98ecb
0161fb97 | 012ed511 | 00f782db
0164d0e4 | 012ba2c1 | 00f919b5
0162814f | 012f279f | 00f6a888
016521a8 | 012c8c18 | 00f97a22

## Bit0 - FE
| Bit 0 FE error voltages at different reference voltages |  |  | DAC Voltage | DAC Value Hex | DAC Value Dec | Theoretical Threshold timer (ms) | Theoretical Threshold Counter
| 0.5V | 1V | 1.5V | 0.5 | 0E39 | 3641 | 118.4 | 23680000
| 36.6186 | 57.8143 | 62.4446 | 1 | 1C72 | 7282 | 100.6 | 20120000
| 62.564 | 43.9286 | 47.4067 | 1.5 | 2AAB | 10923 | 83.2 | 16640000
| 37.2558 | 59.0741 | 47.8106
| 57.9545 | 46.5432 | 53.32
| 41.9833 | 66.0332 | 51.2379
| 45.1817 | 55.8338 | 65.6717
| 55.9224 | 56.6494 | 46.4352
| 41.8421 | 53.811 | 56.4181
| 64.2506 | 42.6983 | 47.8293
| 45.7919 | 52.9503 | 56.9446
| 60.839 | 37.3758 | 45.0426
| 41.7352 | 53.0954 | 67.1375
| 63.3491 | 37.3797 | 44.4983
| 39.1473 | 63.7656 | 69.7778
| 55.9884 | 35.0633 | 47.8295
| 37.0893 | 59.1036 | 72.0241
| 50.4464 | 32.7575 | 45.5357
| 51.5295 | 55.7065 | 65.7451
| 50.048 | 36.7079 | 39.1723
| 62.8049 | 60.1071 | 67.4682 | Measured 3 Values: | 118.4ms (0.5V) | Looks like ratio of X35
| 43.9127 | 33.6109 | 38.8925 |  | 100.6ms (1V)
| 69.3182 | 60.7218 | 68.212 |  | 83.2ms (1.5V)
| 37.8373 | 37.6623 | 37.0189
| 64.8868 | 75.0687 | 63.8797
| 43.105 | 37.4811 | 41.81
| 71.1191 | 64.8443 | 69.6753
| 38.233 | 35.3383 | 36.1963
| 58.0949 | 67.441 | 65.9773
| 38.8902 | 32.7921 | 37.5809
| 54.2682 | 65.6481 | 59.8894
| 37.1704 | 40.6395 | 39.9191
| 43.4739 | 72.9317 | 65.4402
| 61.2772 | 41.7845 | 37.5908
| 38.8176 | 71.1324 | 63.5752
| 60.2711 | 38.8464 | 43.5986
| 43.0158 | 74.9431 | 65.2064
| 60.2511 | 42.2895 | 40.9656
| 39.9747 | 77.1995 | 64.2425
| 69.4071 | 39.2215 | 39.0949
| 34.0618 | 62.9027 | 59.3839
| 54.19 | 46.6116 | 37.8328
| 35.6403 | 74.2037 | 59.9752
| 60.5561 | 38.6658 | 36.3935
| 36.6282 | 66.9688 | 57.114
| 48.6081 | 40.6978 | 44.1638
| 44.7652 | 68.2794 | 61.9834
| 48.2757 | 39.3472 | 45.9343
| 53.266 | 59.3237 | 55.1851
| 37.7214 | 46.6681 | 46.4082
| 56.6486 | 61.9461 | 61.5234
| 34.4693 | 38.3685 | 43.4369
| 76.91 | 73.1877 | 57.9128
| 35.9386 | 45.4607 | 38.58
| 68.1639 | 75.1015 | 59.4331
| 34.6518 | 36.8955 | 46.2063
| 64.8318 | 69.7699 | 57.8746
| 37.6527 | 37.4518 | 42.339
| 54.6322 | 71.9914 | 60.0896
| 35.7041 | 47.5912 | 37.4369
| 50.2384 | 66.2892 | 60.9781
| 75.7548 | 37.4434 | 38.1841
| 44.4376 | 68.2405 | 61.0808
| 59.2464 | 35.4914 | 38.4934
| 50.8308 | 67.2657 | 59.3509
| 57.6278 | 35.3484 | 38.2493
| 37.8615 | 71.9291 | 59.2859
| 75.36 | 39.9601 | 42.6178
| 34.8516 | 69.1723 | 65.0816
| 73.1157 | 32.5864 | 38.9878
| 33.4822 | 64.5629 | 64.1854
| 69.4779 | 34.3051 | 41.2584
| 31.4638 | 59.2339 | 73.4731
| 56.1868 | 30.3192 | 40.5167
| 35.1868 | 57.9597 | 74.4498
| 52.1749 | 38.4229 | 42.5309
| 62.5594 | 52.39 | 72.6311
| 46.0412 | 50.923 | 45.1039
| 67.0443 | 52.4724 | 87.0693
| 47.1566 | 43.5798 | 43.9707
| 58.3862 | 50.6013 | 68.1536
| 37.4289 | 59.0893 | 38.7967
| 56.515 | 45.3642 | 78.8471
| 36.0395 | 69.5215 | 40.3016
| 67.0043 | 40.1107 | 65.9989
| 40.6538 | 64.614 | 47.6839
| 59.0738 | 39.3482 | 61.3192
| 36.4102 | 71.6232 | 47.3334
| 58.4739 | 42.26 | 62.8665
| 32.4419 | 65.4575 | 47.1761
| 56.2375 | 38.5555 | 63.0481
| 34.2101 | 73.3949 | 50.2925
| 49.1415 | 32.2173 | 43.0548
| 62.7003 | 59.6394 | 56.6201
| 45.0149 | 33.9031 | 40.7093
| 66.5881 | 66.2021 | 58.4811
| 43.4637 | 39.3101 | 43.2041
| 55.4055 | 51.6157 | 62.8496
| 46.2778 | 36.9957 | 39.5051
| 61.858 | 50.4444 | 66.647
| 43.595 | 50.9449 | 35.2762
| 76.5074 | 42.0356 | 66.997
| 38.7004 | 63.0202 | 41.0365
| 69.0443 | 43.2032 | 72.7623
| 33.7843 | 63.7961 | 40.04
| 62.7007 | 38.3589 | 62.0521
| 32.7977 | 59.6243 | 43.536
| 59.6197 | 38.3689 | 80.5127
| 51.362 | 66.2997 | 44.2743
| 60.2179 | 35.9565 | 63.7222
| 42.0353 | 76.6925 | 46.1202
| 53.0624 | 36.815 | 69.6687
| 37.8768 | 57.4848 | 44.8131
| 51.7766 | 37.2279 | 61.3405
| 39.9956 | 54.3304 | 46.0993
| 46.2273 | 42.9903 | 63.7056
| 52.7652 | 54.092 | 48.6334
| 46.9528 | 51.7542 | 65.0143
| 64.2398 | 40.5861 | 49.8377
| 44.0818 | 61.1131 | 54.2333
| 63.0227 | 45.05 | 52.7581
| 37.8348 | 68.8032 | 40.5517
| 63.9025 | 40.9685 | 58.3014
| 39.5685 | 67.2648 | 39.9506
| 67.4839 | 38.3528 | 58.7536
| 41.4544 | 67.7202 | 44.1526
| 62.685 | 35.39 | 66.5888
Average: | 50.6008 | 51.8558 | 53.3241
Max Swing: | 45.4462 | 46.8803 | 51.793
Note on L1: Sadie Adriaan: The input to the system is a "triangle wave" with a slope of 50 ms. In reality, the slope looks more like 64ms to reach 1.8V from 0. For this falling edge, I just measured as close as possible the time between the start of the triangle wave and the threshold voltage on the falling edge slope. For the time being, I will blame measurement error for the discrepancy between the bias voltages measured (+- 17mV on First attempt, and +- 50 mV here on this page)